## INPUT
Tender Participation+ Processing Cost |  | Rs Lacs | 1
Insurance Premium Cost |  | % Of CAPEX | 0.35% |  | https://www.quora.com/Which-type-of-insurance-products-are-available-for-solar-power-generation-projects-in-India
BG Cost |  | Rs Lacs | 0
Read more at: http://www.solarmango.com/ask/2015/09/20/what-are-the-initial-investment-and-om-costs-required-for-a-mw-solar-plant-in-india-what-kind-of-financial-returns-can-we-expect-from-it/
INPUT PARAMETER |  |  |  | RANK
Capacity Installation |  | MW | 1
Capacity Utilisation Factor |  | % | 13.5 | 1
Degradation factor/year |  | % | 0.7%
Technical Loss/Year |  | % | 0%
Subsidy |  | % | 0%
Capital Cost/MW |  | Rs Lacs/MW | 350 | 2
O&M Expenses/MW |  | Rs Lacs/MW | 4
O&M Expenses Escalation |  | % | 5.72
Total Land Lease Payment/year |  | Rs Lacs | 0
INFLATION (For Land+O&M+Insurance) |  | % | 0%
Debt |  | % | 80 | 3
Repayment Period(Including Moratorium) |  | Years | 13
Interest Rate |  | % | 9.5 | 4
Pre Tax ROE for first 10 years | 10 | % p.a | 17
Pre Tax ROE from 11th year onwards | 15 | %p.a | 22
Weighted Average of Post Tax ROE |  | % | 13.97% | 5
Plant Capitalized in the 2nd half of the 1st Year(YES/NO) |  |  | NO
RESULTS
Levellised Tariff | 4.4112 | Rs/Unit
Revenue/year | 52.1668 | Lakh Rs/Year
Levellised Tariff with AD | 3.9996 | Rs/Unit
Revenue/year with AD | 47.2997 | Lakh Rs/Year
| Project IRR | Equity IRR
CERC Tariff | 9.337% | 9.846%
CERF Tariff with AD | 9.583% | 10.79%
Note on D24: Author: Years

## Capital Cost
| Particulars | Capital cost norm proposed for (Rs. Lakh/MW), for Solar PV projects | % of total cost
http://www.solarmango.com/ask/2015/09/20/what-are-the-initial-investment-and-om-costs-required-for-a-mw-solar-plant-in-india-what-kind-of-financial-returns-can-we-expect-from-it/
1 | PV modules | 294.04 | 84.01%
2 | Land Upfront Cost | 25 | 7.143%
3 | Civil and General Work | 35 | 10% | Insurance Insurance charges are typically 0.15% of Project Cost, modeled every year throughout the lifetime of the plant with no escalation.
4 | Mounting Structure | 35 | 10%
5 | Power Conditioning Unit | 25 | 7.143%
6 | Evacuation Cost upto Interconnection Point (Cables and Transformers | 40 | 11.43%
7 | Preliminary and Pre-Operative Expenses including IDC and Contingency | 27.63 | 7.894%
| Total Capital Cost (Lakh/MW) | 350 | 137.6%
8 | Tender Participation+ Processing Cost | 1
| Total project cost (Lakh/MW) | 351
9 | BG Cost | 0
| Total Cost (Lakh/MW) | 351
| O&M cost (Lakh/MW) | 4

## RESULT
|  | Project IRR- Post Tax |  |  | Equity IRR - post tax
| Tariff (Rs/Unit) | Project IRR | NPV @ Interest Rate | Payback Period | Equity IRR | NPV @ Interest Rate | Payback Period
CERC Tariff | 4.4112 | 9.337% | 30.1072 | 8 | 9.846% | 19.8231 | 14
CERF Tariff with AD | 3.9996 | 9.583% | 31.5034 | 8 | 10.79% | 21.2194 | 14
User Provided FIT | 7.06 | 17.22% | 254.4989 | 5 | 34.85% | 244.2149 | 2

## Assumption for solar PV Power P
Assumption for solar PV Power Projects Parameters
S.No | Assumption Head | Sub-Head | Sub-Head(2) | Unit | Assumptions
1 | Power Generation
|  | Capacity | Installed Power Generation Capacity | MW | 1
|  |  | Auxiliary Consumption | % | 0%
|  |  | Capacity Utilisation Factor | % | 13.5
|  |  | Degradation factor/year | % | 0.7%
|  |  | Technical Loss/Year | % | 0%
|  |  | Useful Life or (Tariff Period) | years | 25
2 | Project Cost |  | Subsidy | % | 0%
|  | Capital Cost/MW | Power Plant Cost | Rs Lacs | 351
|  |  | Power Plant Cost after subsidy | Rs Lacs | 351
3 | Financial Assumptions
Debt:Equity
|  |  | Debt | % | 80
|  |  | Equity | % | 20
|  |  | Total Debt Amount | Rs Lacs | 280.8
|  |  | Total Equity Amount | Rs Lacs | 70.2
Debt Compnent
|  |  | Loan Amount | Rs Lacs | 280.8
|  |  | Moratorium Period | Years | 0
|  |  | Repayment Period(Including Moratorium) | Years | 13
|  |  | Interest Rate | % | 9.5 | Pg 13 | https://ireda.in/forms/contentpage.aspx?lid=740
|  | Equity Component |  |  |  | http://www.cercind.gov.in/2019/orders/Draft%20RE%20Tariff%20Order%20for%20FY%202019-20.pdf
|  | PRE TAX ROE | Equity Amount | Rs Lacs | 70.2
| DIVISION OF YEARS | 10 | Return on Equity for first 10 years | % p.a | 17
|  | 15 | Return on Equity 11th year onwards | %p.a | 22
|  |  | Weighted Average of ROE | % | 20
|  |  | Weighted Average POST TAX ROE | % | 13.97%
|  |  | Discount Rate for 10 years | % | 8.63% | Post TAX ROE (for 10 yrs) |  | 13.34%
|  |  | Discount Rate for rest of the years | % | 7.847% | Post TAX ROE (for rest yrs) |  | 14.39%
|  |  | Weighted Average Discount Rate | % | 8.16%
|  |  | Annuity factor for plants life | % | 10.1248
4(i) | Financial Assumptions
Fiscal Assumptions
|  |  | Income Tax | % | 34.61% | http://www.cercind.gov.in/2019/orders/Draft%20RE%20Tariff%20Order%20for%20FY%202019-20.pdf
|  |  | MAT Rate | % | 21.55% | Pg.6 & Pg. 12 . 20) |  |  | Pg.5 | http://www.cercind.gov.in/2019/orders/1-SM-2019Suo-Motu.pdf
|  |  | 80 IA benefits | Yes/No
| Years | Depreciation | DEPRECIABLE AMOUNT | 90% | 315.9
| 13 | (Salvage Value 10 percent) | Depreciation Rate for first mentioned periods | % | 5.83 | 20.4633 | Lakh/year
| 12 |  | Depreciation Rate year onwards | % | 1.1842 | 4.1564 | Lakh/year
(ii) |  |  | Plant&Machinery Income Tax Depreciation |  | 15%
5 | Working Capital
For Fixed Charges
|  | O&M Charges |  | Months | 1
|  | Maintenace Spare | ( % of O&M Expenses) | % | 15
|  | Receivables for Debtors |  | Months | 2
For Variable Charges
|  | Interest on working capital |  | % | 11
6 | Operation & Maintenance
|  | O&M Expenses |  | Rs Lacs | 4
|  | O&M Expenses Escalation |  | % | 5.72
7 | Feed in Tariff for Solar | Levelized FIT | 5 | MW | 7.06 | INR/KWH
| For Uttar Pradesh | Tariff set via bidding process | more than 5 | MW | 6 | INR/KWH
8 |  |  | Tax Holiday Start Year | Years | 1
|  |  | Tax Holiday Duration | Years | 0
|  |  | MAT Setoff Start Year | Years | 16
|  |  | MAT set off allowed u/s 115JAA (3A) | Years | 10 | Reference- https://taxguru.in/income-tax/carry-forward-set-off-mat-credit-where-the-ten-year-period-expired-before-ay-2016-17.html
|  |  | MAT Setoff Duration | Years | 5
|  |  | NOTE:- DATA IN THE PEACH COLOURED CELLS ARE EDITABLE |  |  | https://home.kpmg/content/dam/kpmg/xx/pdf/2018/10/india-2018-v2.pdf
RESULTS
|  | Levellised Tariff | 4.4112 | Rs/Unit
|  | Levellised Tariff with AD | 3.9996 | Rs/Unit
GENERIC TARIFF FOR SOLAR ROOF-TOP PV PROJECTS The Solar Roof-top PV Projects covered in this Order under the RE Tariff Regulations, 2015 are distinct and separate from and do not include those covered under the MERC (Net Metering for Roof-top Solar PV Systems) Regulations, 2015. Regulation 72 of the RE Tariff Regulations specifies that the Tariff for Solar Roof-top PV Projects shall be Rs 0.50 per kWh higher than that of other Solar PV Projects. Accordingly, the Tariff for such Projects commissioning during FY 2019-20 shall be Rs. 3.79/kWh. Note:  If no safeguard duty is paid by solar PV Project in spite of import from China & Malaysia, then Rs. 0.18/unit will be deducted from Generic Tariff towards impact of safeguard duty.
http://www.mercindia.org.in/pdf/Order%2058%2042/RE%20Draft%20Order-52%20of%202019.pdf
|  |  | CERC Tariff | CERC Tariff with AD
|  | Subsidy | 4.4112 | 3.9996
|  | 15% | 3.848 | 3.4981
|  | 20% | 3.6602 | 3.331
|  | 25% | 3.4725 | 3.1638
|  | 30% | 3.2847 | 2.9966
|  | 35% | 3.097 | 2.8294
Note on F31: Author: FROM NEXT PAGE TABLE
Note on F34: Author: (1+i)^n - 1 / i*(1+i)^n

## Determination_of_Tariff
Determination of Tariff for Solar PV
Units Generation | Unit | Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Installed Capacity | MW | bar: 1 to 25
Gross Generation | MU |  | 1.1826 | 1.1743 | 1.1661 | 1.1579 | 1.1498 | 1.1418 | 1.1338 | 1.1259 | 1.118 | 1.1101 | 1.1024 | 1.0947 | 1.087 | 1.0794 | 1.0718 | 1.0643 | 1.0569 | 1.0495 | 1.0421 | 1.0348 | 1.0276 | 1.0204 | 1.0133 | 1.0062 | 0.99913
Auxiliary Consumption | MU |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Generation after Technical Losses | MU |  | 1.1826 | 1.1743 | 1.1661 | 1.1579 | 1.1498 | 1.1418 | 1.1338 | 1.1259 | 1.118 | 1.1101 | 1.1024 | 1.0947 | 1.087 | 1.0794 | 1.0718 | 1.0643 | 1.0569 | 1.0495 | 1.0421 | 1.0348 | 1.0276 | 1.0204 | 1.0133 | 1.0062 | 0.99913
Net Generation (After Technical loss and Degradation) | MU |  | 1.1826 | 1.1743 | 1.1661 | 1.1579 | 1.1498 | 1.1418 | 1.1338 | 1.1259 | 1.118 | 1.1101 | 1.1024 | 1.0947 | 1.087 | 1.0794 | 1.0718 | 1.0643 | 1.0569 | 1.0495 | 1.0421 | 1.0348 | 1.0276 | 1.0204 | 1.0133 | 1.0062 | 0.99913
Fixed Cost | Unit | Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
O&M Expenses | Rs Lakh |  | 4 | 4.2288 | 4.4707 | 4.7264 | 4.9968 | 5.2826 | 5.5847 | 5.9042 | 6.2419 | 6.5989 | 6.9764 | 7.3755 | 7.7973 | 8.2433 | 8.7149 | 9.2133 | 9.7403 | 10.2975 | 10.8865 | 11.5092 | 12.1675 | 12.8635 | 13.5993 | 14.3772 | 15.1996
Depreciation | Rs Lakh |  | 20.4633 | 20.4633 | 20.4633 | 20.4633 | 20.4633 | 20.4633 | 20.4633 | 20.4633 | 20.4633 | 20.4633 | 20.4633 | 20.4633 | 20.4633 | 4.1564 | 4.1564 | 4.1564 | 4.1564 | 4.1564 | 4.1564 | 4.1564 | 4.1564 | 4.1564 | 4.1564 | 4.1564 | 4.1564
Interest on term loan | Rs Lakh |  | 25.65 | 23.598 | 21.546 | 19.494 | 17.442 | 15.39 | 13.338 | 11.286 | 9.234 | 7.182 | 5.13 | 3.078 | 1.026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest on working capital | Rs Lakh |  | 1.4235 | 1.3865 | 1.3497 | 1.3135 | 1.2779 | 1.243 | 1.2089 | 1.1755 | 1.143 | 1.1113 | 1.1461 | 1.1163 | 1.0875 | 0.77441 | 0.79365 | 0.81409 | 0.83581 | 0.85888 | 0.88338 | 0.90939 | 0.93699 | 0.96629 | 0.99736 | 1.0303 | 1.0653
Return on Equity | Rs Lakh |  | 11.934 | 11.934 | 11.934 | 11.934 | 11.934 | 11.934 | 11.934 | 11.934 | 11.934 | 11.934 | 15.444 | 15.444 | 15.444 | 15.444 | 15.444 | 15.444 | 15.444 | 15.444 | 15.444 | 15.444 | 15.444 | 15.444 | 15.444 | 15.444 | 15.444
LAND LEASE | Rs Lakh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INSURANCE | Rs Lakh |  | 1.225 | 1.1569 | 1.0853 | 1.0136 | 0.94201 | 0.87039 | 0.79877 | 0.72715 | 0.65553 | 0.58391 | 0.51228 | 0.44066 | 0.36904 | 0.29742 | 0.28287 | 0.26832 | 0.25378 | 0.23923 | 0.22468 | 0.21013 | 0.19559 | 0.18104 | 0.16649 | 0.15194 | 0.1374
Total Fixed Cost | Rs Lakh |  | 64.6958 | 62.7675 | 60.8489 | 58.9448 | 57.056 | 55.1833 | 53.3277 | 51.4901 | 49.6717 | 47.8734 | 49.6721 | 47.9177 | 46.1872 | 28.9156 | 29.3918 | 29.8962 | 30.4304 | 30.996 | 31.595 | 32.2292 | 32.9006 | 33.6113 | 34.3636 | 35.1599 | 36.0027
Per Unit Cost of Generation | Unit | Levellised | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Total COG | Rs/kWh | 4.4112 | 5.4706 | 5.345 | 5.2182 | 5.0905 | 4.9621 | 4.8331 | 4.7035 | 4.5734 | 4.443 | 4.3123 | 4.5059 | 4.3774 | 4.2491 | 2.6789 | 2.7422 | 2.8089 | 2.8793 | 2.9535 | 3.0318 | 3.1144 | 3.2017 | 3.2939 | 3.3914 | 3.4944 | 3.6034
Discount Factor |  |  | 1 | 0.92456 | 0.85481 | 0.79032 | 0.73069 | 0.67557 | 0.6246 | 0.57748 | 0.53391 | 0.49363 | 0.45639 | 0.42196 | 0.39012 | 0.36069 | 0.33348 | 0.30832 | 0.28506 | 0.26355 | 0.24367 | 0.22529 | 0.20829 | 0.19258 | 0.17805 | 0.16462 | 0.1522
Levellised Tariff | 4.4112 | Rs/Unit
Levellised Tariff with AD | 3.9996 | Rs/Unit
Avg. Annual Revenue Collected for Levellised Tariff | 52.1668 | Rs Lakh/Year
Annual Revenue Collected for Levellised Tariff with AD | 47.2997 | Rs Lakh/Year
BOOK VALUE AFTER DEPRECIATION (Using SLM) for Tariff Cal. |  |  | 330.5367 | 310.0734 | 289.6101 | 269.1468 | 248.6835 | 228.2202 | 207.7569 | 187.2936 | 166.8303 | 146.367 | 125.9037 | 105.4404 | 84.9771 | 80.8207 | 76.6642 | 72.5078 | 68.3514 | 64.195 | 60.0385 | 55.8821 | 51.7257 | 47.5693 | 43.4128 | 39.2564 | 35.1
Working capital requirement | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
O&M Expense for 1 month | 0.33333 | 0.3524 | 0.37256 | 0.39387 | 0.4164 | 0.44021 | 0.46539 | 0.49202 | 0.52016 | 0.54991 | 0.58137 | 0.61462 | 0.64978 | 0.68694 | 0.72624 | 0.76778 | 0.8117 | 0.85812 | 0.90721 | 0.9591 | 1.014 | 1.072 | 1.1333 | 1.1981 | 1.2666
Maintenance spare at 15% of O&M Expenses | 0.6 | 0.63432 | 0.6706 | 0.70896 | 0.74951 | 0.79239 | 0.83771 | 0.88563 | 0.93629 | 0.98984 | 1.0465 | 1.1063 | 1.1696 | 1.2365 | 1.3072 | 1.382 | 1.4611 | 1.5446 | 1.633 | 1.7264 | 1.8251 | 1.9295 | 2.0399 | 2.1566 | 2.2799
LAND LEASE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INSURANCE | 1.225 | 1.1569 | 1.0853 | 1.0136 | 0.94201 | 0.87039 | 0.79877 | 0.72715 | 0.65553 | 0.58391 | 0.51228 | 0.44066 | 0.36904 | 0.29742 | 0.28287 | 0.26832 | 0.25378 | 0.23923 | 0.22468 | 0.21013 | 0.19559 | 0.18104 | 0.16649 | 0.15194 | 0.1374
Receivables equivalent to 2 months of energy charges for sale of electricity calculated on the normative CUF | 10.7826 | 10.4613 | 10.1415 | 9.8241 | 9.5093 | 9.1972 | 8.8879 | 8.5817 | 8.2786 | 7.9789 | 8.2787 | 7.9863 | 7.6979 | 4.8193 | 4.8986 | 4.9827 | 5.0717 | 5.166 | 5.2658 | 5.3715 | 5.4834 | 5.6019 | 5.7273 | 5.86 | 6.0004
Working capital requirement | 12.941 | 12.6049 | 12.2699 | 11.9406 | 11.6173 | 11.3002 | 10.9898 | 10.6865 | 10.3906 | 10.1026 | 10.4188 | 10.1479 | 9.8863 | 7.0401 | 7.215 | 7.4008 | 7.5983 | 7.808 | 8.0307 | 8.2671 | 8.5181 | 8.7844 | 9.0669 | 9.3666 | 9.6844
Discount rate
Post TAX ROE (for 10 yrs) | 13.34%
Post TAX ROE (for rest yrs) | 14.39%
MAT Rate | 21.55%
Income tax rate | 34.61%
Interest on debt | 9.5%
Debt Fraction | 80%
Discount rate for 10 yrs | 8.63%
Discount rate for rest years | 7.847%
Weighted Average Discount Rate | 8.16%
Determination of Accelerated Depreciation Benefit for Solar PV Power Projects
Depreciation amount | 90%
Book Depreciation rate | 5.28% |  | 1: Depreciation for the 1st year; 4: (As per the regulation 3); 10: http://www.cercind.gov.in/2019/orders/Draft%20RE%20Tariff%20Order%20for%20FY%202019-20.pdf; 21: https://cleartax.in/s/additional-depreciation-income-tax-act
Tax Depreciation rate | 40% |  | 1: 1st Half; 2: 2nd Half; 10: Depreciation for the first year has been calculated at the rate of 50% of accelerated depreciation (40%) and 50% of additional depreciation (20%) (as project is capitalized during the second half of the financial year as per proviso to Regulation 23).; 21: From assessment year 2017-18 the same is also allowed to the assessee engaged in the business of transmission of power.
Additional Depriciation | 20% |  | 1: 50%; 2: 50%; 4: Accelerated Depreciation (AD) first year; 8: 20%
Income Tax (Normal Rates) | 34.61% |  | 1: 40%; 2: 20%; 4: AD from second year; 8: 40%
Capital Cost | 351 |  | 4: Adjusted AD 1st Year; 8: 30%
Plant Capitalized in the 2nd half of the 1st Year(YES/NO) | NO |  | 4: Adjusted AD 2nd Year; 8: 50%
Net Energy Sold(Lakh kWhs) |  |  | 11.826 | 11.7432 | 11.661 | 11.6202 | 11.5593 | 11.4886 | 11.4132 | 11.3359 | 11.2578 | 11.1797 | 11.1017 | 11.0242 | 10.9471 | 10.8705 | 10.7944 | 10.7189 | 10.6438 | 10.5693 | 10.4953 | 10.4219 | 10.3489 | 10.2765 | 10.2045 | 10.1331 | 10.0622
Years -----------------> | Unit |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Book Depreciation (SLM) |  |  | 5.28% | 5.28% | 5.28% | 5.28% | 5.28% | 5.28% | 5.28% | 5.28% | 5.28% | 5.28% | 5.28% | 5.28% | 5.28% | 5.28% | 5.28% | 5.28% | 5.28% | 0.24% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Book Depreciation (SLM) | Rs Lakh |  | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 0.8424 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Accelerated Depreciation | Unit | Levelized | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Opening | % |  | 100% | 40% | 24% | 14.4% | 8.64% | 5.184% | 3.11% | 1.866% | 1.12% | 0.6718% | 0.4031% | 0.2419% | 0.1451% | 0.08707% | 0.05224% | 0.03135% | 0.01881% | 0.01128% | 0.006771% | 0.004062% | 0.002437% | 0.001462% | 0.0008775% | 0.0005265% | 0.0003159%
Allowed during the year | % |  | 60% | 16% | 9.6% | 5.76% | 3.456% | 2.074% | 1.244% | 0.7465% | 0.4479% | 0.2687% | 0.1612% | 0.09675% | 0.05805% | 0.03483% | 0.0209% | 0.01254% | 0.007523% | 0.004514% | 0.002708% | 0.001625% | 0.000975% | 0.000585% | 0.000351% | 0.0002106% | 0.0001264%
Closing | % |  | 40% | 24% | 14.4% | 8.64% | 5.184% | 3.11% | 1.866% | 1.12% | 0.6718% | 0.4031% | 0.2419% | 0.1451% | 0.08707% | 0.05224% | 0.03135% | 0.01881% | 0.01128% | 0.006771% | 0.004062% | 0.002437% | 0.001462% | 0.0008775% | 0.0005265% | 0.0003159% | 0.0001895%
Accelrated Deprn. | Rs Lakh |  | 210.6 | 70.2 | 28.08 | 16.848 | 10.1088 | 6.0653 | 3.6392 | 2.1835 | 1.3101 | 0.78606 | 0.47164 | 0.28298 | 0.16979 | 0.10187 | 0.061124 | 0.036674 | 0.022005 | 0.013203 | 0.0079217 | 0.004753 | 0.0028518 | 0.0017111 | 0.0010266 | 0.00061599 | 0.00036959
Cummulative Acc. Dep | Rs Lakh |  | 210.6 | 280.8 | 308.88 | 325.728 | 335.8368 | 341.9021 | 345.5412 | 347.7247 | 349.0348 | 349.8209 | 350.2925 | 350.5755 | 350.7453 | 350.8472 | 350.9083 | 350.945 | 350.967 | 350.9802 | 350.9881 | 350.9929 | 350.9957 | 350.9974 | 350.9985 | 350.9991 | 350.9994
Net Depreciation Benefit | Rs Lakh |  | 192.0672 | 51.6672 | 9.5472 | -1.6848 | -8.424 | -12.4675 | -14.8936 | -16.3493 | -17.2227 | -17.7467 | -18.0612 | -18.2498 | -18.363 | -18.4309 | -18.4717 | -18.4961 | -18.5108 | -0.8292 | 0.0079217 | 0.004753 | 0.0028518 | 0.0017111 | 0.0010266 | 0.00061599 | 0.00036959
Tax Benefit | Rs Lakh | 4.5057 | 66.4745 | 17.882 | 3.3043 | -0.58311 | -2.9155 | -4.315 | -5.1547 | -5.6585 | -5.9608 | -6.1421 | -6.251 | -6.3163 | -6.3554 | -6.3789 | -6.393 | -6.4015 | -6.4066 | -0.28699 | 0.0027417 | 0.001645 | 0.00098701 | 0.00059221 | 0.00035532 | 0.00021319 | 0.00012792
Energy generation | Lakh KWhs |  | 11.826 | 11.7432 | 11.661 | 11.6202 | 11.5593 | 11.4886 | 11.4132 | 11.3359 | 11.2578 | 11.1797 | 11.1017 | 11.0242 | 10.9471 | 10.8705 | 10.7944 | 10.7189 | 10.6438 | 10.5693 | 10.4953 | 10.4219 | 10.3489 | 10.2765 | 10.2045 | 10.1331 | 10.0622
Discounting Factor |  |  | 1 | 0.92456 | 0.85481 | 0.79032 | 0.73069 | 0.67557 | 0.6246 | 0.57748 | 0.53391 | 0.49363 | 0.45639 | 0.42196 | 0.39012 | 0.36069 | 0.33348 | 0.30832 | 0.28506 | 0.26355 | 0.24367 | 0.22529 | 0.20829 | 0.19258 | 0.17805 | 0.16462 | 0.1522
Applicable Discounting Factor |  |  | 1 | 0.9608 | 0.88695 | 0.81877 | 0.75584 | 0.69774 | 0.64411 | 0.5946 | 0.5489 | 0.50671 | 0.46776 | 0.43181 | 0.39862 | 0.36798 | 0.33969 | 0.31358 | 0.28948 | 0.26723 | 0.24669 | 0.22773 | 0.21022 | 0.19406 | 0.17915 | 0.16538 | 0.15267
Levellised benefit | 0.41156 | Rs/Unit
Plant & Machinery | Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Plant & Machinery Depreciation (15%) |  |  | 52.65 | 44.7525 | 38.0396 | 32.3337 | 27.4836 | 23.3611 | 19.8569 | 16.8784 | 14.3466 | 12.1946 | 10.3654 | 8.8106 | 7.489 | 6.3657 | 5.4108 | 4.5992 | 3.9093 | 3.3229 | 2.8245 | 2.4008 | 2.0407 | 1.7346 | 1.4744 | 1.2532 | 1.0653
Cumulative Plant & Machinery Depreciation |  |  | 52.65 | 97.4025 | 135.4421 | 167.7758 | 195.2594 | 218.6205 | 238.4774 | 255.3558 | 269.7025 | 281.8971 | 292.2625 | 301.0731 | 308.5622 | 314.9278 | 320.3387 | 324.9379 | 328.8472 | 332.1701 | 334.9946 | 337.3954 | 339.4361 | 341.1707 | 342.6451 | 343.8983 | 344.9636
Accelerated Depreciation Benefit considering tax depreciation instead of book depreciation (for comparison)
Net depreciation benefit (AD-Tax Depreciation) |  |  | 157.95 | 25.4475 | -9.9596 | -15.4857 | -17.3748 | -17.2958 | -16.2178 | -14.6949 | -13.0365 | -11.4086 | -9.8938 | -8.5276 | -7.3192 | -6.2638 | -5.3497 | -4.5625 | -3.8873 | -3.3097 | -2.8166 | -2.3961 | -2.0378 | -1.7329 | -1.4734 | -1.2526 | -1.0649
Net tax benefit (AD-Tax Depreciation) |  |  | 54.6665 | 8.8074 | -3.447 | -5.3596 | -6.0134 | -5.9861 | -5.613 | -5.0859 | -4.5119 | -3.9485 | -3.4242 | -2.9514 | -2.5332 | -2.1679 | -1.8515 | -1.5791 | -1.3454 | -1.1455 | -0.97481 | -0.82928 | -0.7053 | -0.59975 | -0.50993 | -0.43353 | -0.36856
Benefit (AD-Tax Depreciation)/kWh |  |  | 4.6226 | 0.75 | -0.2956 | -0.46123 | -0.52023 | -0.52105 | -0.49179 | -0.44865 | -0.40078 | -0.35319 | -0.30844 | -0.26772 | -0.2314 | -0.19943 | -0.17153 | -0.14732 | -0.1264 | -0.10838 | -0.09288 | -0.079571 | -0.068152 | -0.058361 | -0.049971 | -0.042784 | -0.036628
Levelized benefit-AD over Tax Depreciation | 0.20557 | Rs/Unit
Period After Capitalization of plant |  |  | 1 | 3 | 5 | 7 | 9 | 11 | 13 | 15 | 17 | 19 | 21 | 23 | 25 | 27 | 29 | 31 | 33 | 35 | 37 | 39 | 41 | 43 | 45 | 47 | 49

## Interest(onLOAN)
Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Interest Payment | 25.65 | 23.598 | 21.546 | 19.494 | 17.442 | 15.39 | 13.338 | 11.286 | 9.234 | 7.182 | 5.13 | 3.078 | 1.026 | -1.026 | -3.078 | -5.13 | -7.182 | -9.234 | -11.286 | -13.338 | -15.39 | -17.442 | -19.494 | -21.546 | -23.598
| Loan Amount | 280.8 | lakhs
| Term | 13 | Years
| 0.095 | [5 empty] | EMI
| Initial Payment | Repayment | Remaining Payment | Interest |  |  | 3.141 | Lac
1 | 280.8 | 21.6 | 259.2 | 25.65
2 | 259.2 | 21.6 | 237.6 | 23.598
3 | 237.6 | 21.6 | 216 | 21.546 |  | Total Payment | 454.194 | Lac
4 | 216 | 21.6 | 194.4 | 19.494 |  | total payment Per Year | 37.8495 | Lac
5 | 194.4 | 21.6 | 172.8 | 17.442 |  | total payment Per Month | 3.1541 | Lac
6 | 172.8 | 21.6 | 151.2 | 15.39
7 | 151.2 | 21.6 | 129.6 | 13.338
8 | 129.6 | 21.6 | 108 | 11.286
9 | 108 | 21.6 | 86.4 | 9.234
10 | 86.4 | 21.6 | 64.8 | 7.182
11 | 64.8 | 21.6 | 43.2 | 5.13
12 | 43.2 | 21.6 | 21.6 | 3.078
13 | 21.6 | 21.6 | 3.5527e-14 | 1.026
14 | 3.5527e-14 | 21.6 | -21.6 | -1.026
15 | -21.6 | 21.6 | -43.2 | -3.078
16 | -43.2 | 21.6 | -64.8 | -5.13
17 | -64.8 | 21.6 | -86.4 | -7.182
18 | -86.4 | 21.6 | -108 | -9.234
19 | -108 | 21.6 | -129.6 | -11.286
20 | -129.6 | 21.6 | -151.2 | -13.338
21 | -151.2 | 21.6 | -172.8 | -15.39
22 | -172.8 | 21.6 | -194.4 | -17.442
23 | -194.4 | 21.6 | -216 | -19.494
24 | -216 | 21.6 | -237.6 | -21.546
25 | -237.6 | 21.6 | -259.2 | -23.598

## P&L
| Inputs | Units | Value
| State |  | UP
| Project Start Year |  | 1 |  |  | CERC FIT |  |  | INR/KWH | 7.06
| Equity | Rs Lakh | 70.2 |  |  | For Uttar Pradesh (MW) | 5 | MW | INR/KWH | 7.06
| Life of Plant and Machinery / Project Life | Years | 25 |  |  |  | more than 5 | MW | INR/KWH | 6
| Corporate Tax Rate | % | 34.61%
| MAT | % | 21.55%
| Tax Holiday Start Year | Years | 1
| Tax Holiday Duration | Years | 0
| MAT Setoff Start Year | Years | 16 | https://www.caclubindia.com/experts/mat-adjustment-1920859.asp
| MAT set off allowed u/s 115JAA (3A) | Years | 10 | Reference :- http://www.indiansolarmarket.com/union-budget-solar-energy-industry/
| MAT Setoff Duration | Years | 5 |  | https://cleartax.in/s/tax-planning-under-mat
INCOME | Income
| Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
| Net Energy sold | lakh kWhs | 11.826 | 11.7432 | 11.661 | 11.6202 | 11.5593 | 11.4886 | 11.4132 | 11.3359 | 11.2578 | 11.1797 | 11.1017 | 11.0242 | 10.9471 | 10.8705 | 10.7944 | 10.7189 | 10.6438 | 10.5693 | 10.4953 | 10.4219 | 10.3489 | 10.2765 | 10.2045 | 10.1331 | 10.0622
CERC Tariff
| Tariff based on Generation Cost | Rs/kWh | 4.4112 | 4.4112 | 4.4112 | 4.4112 | 4.4112 | 4.4112 | 4.4112 | 4.4112 | 4.4112 | 4.4112 | 4.4112 | 4.4112 | 4.4112 | 4.4112 | 4.4112 | 4.4112 | 4.4112 | 4.4112 | 4.4112 | 4.4112 | 4.4112 | 4.4112 | 4.4112 | 4.4112 | 4.4112
| Income From Sale of Electricity | Rs Lakhs | 52.1668 | 51.8017 | 51.4391 | 51.259 | 50.9902 | 50.6783 | 50.3461 | 50.0049 | 49.6605 | 49.3157 | 48.9719 | 48.6298 | 48.2897 | 47.9519 | 47.6163 | 47.283 | 46.9521 | 46.6234 | 46.297 | 45.973 | 45.6512 | 45.3316 | 45.0143 | 44.6992 | 44.3863
| Total Income based on Generation Cost |  | 52.1668 | 51.8017 | 51.4391 | 51.259 | 50.9902 | 50.6783 | 50.3461 | 50.0049 | 49.6605 | 49.3157 | 48.9719 | 48.6298 | 48.2897 | 47.9519 | 47.6163 | 47.283 | 46.9521 | 46.6234 | 46.297 | 45.973 | 45.6512 | 45.3316 | 45.0143 | 44.6992 | 44.3863
CERC Tariff with AD
| Tariff based on Generation Cost | Rs/kWh | 3.9996 | 3.9996 | 3.9996 | 3.9996 | 3.9996 | 3.9996 | 3.9996 | 3.9996 | 3.9996 | 3.9996 | 3.9996 | 3.9996 | 3.9996 | 3.9996 | 3.9996 | 3.9996 | 3.9996 | 3.9996 | 3.9996 | 3.9996 | 3.9996 | 3.9996 | 3.9996 | 3.9996 | 3.9996
| Income From Sale of Electricity | Rs Lakhs | 47.2997 | 46.9686 | 46.6398 | 46.4766 | 46.2329 | 45.9501 | 45.6488 | 45.3395 | 45.0272 | 44.7146 | 44.4028 | 44.0926 | 43.7843 | 43.478 | 43.1737 | 42.8715 | 42.5715 | 42.2735 | 41.9776 | 41.6837 | 41.3919 | 41.1022 | 40.8145 | 40.5288 | 40.2451
| Total Income based on Generation Cost |  | 47.2997 | 46.9686 | 46.6398 | 46.4766 | 46.2329 | 45.9501 | 45.6488 | 45.3395 | 45.0272 | 44.7146 | 44.4028 | 44.0926 | 43.7843 | 43.478 | 43.1737 | 42.8715 | 42.5715 | 42.2735 | 41.9776 | 41.6837 | 41.3919 | 41.1022 | 40.8145 | 40.5288 | 40.2451
User Provided FIT
| Given Feed-in Tariff | (Rs/kWh) | 7.06 | 7.06 | 7.06 | 7.06 | 7.06 | 7.06 | 7.06 | 7.06 | 7.06 | 7.06 | 7.06 | 7.06 | 7.06 | 7.06 | 7.06 | 7.06 | 7.06 | 7.06 | 7.06 | 7.06 | 7.06 | 7.06 | 7.06 | 7.06 | 7.06
| Income From Sale of Electricity | Rs Lakhs | 83.4916 | 82.9071 | 82.3268 | 82.0386 | 81.6084 | 81.1092 | 80.5775 | 80.0314 | 79.4802 | 78.9283 | 78.3781 | 77.8306 | 77.2863 | 76.7456 | 76.2085 | 75.6751 | 75.1454 | 74.6194 | 74.0971 | 73.5784 | 73.0634 | 72.552 | 72.0441 | 71.5398 | 71.039
| Total Income based on FIT |  | 83.4916 | 82.9071 | 82.3268 | 82.0386 | 81.6084 | 81.1092 | 80.5775 | 80.0314 | 79.4802 | 78.9283 | 78.3781 | 77.8306 | 77.2863 | 76.7456 | 76.2085 | 75.6751 | 75.1454 | 74.6194 | 74.0971 | 73.5784 | 73.0634 | 72.552 | 72.0441 | 71.5398 | 71.039
EXPENDITURE | Expenditure
| Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
| O&M | Rs Lakhs | 4 | 4.2288 | 4.4707 | 4.7264 | 4.9968 | 5.2826 | 5.5847 | 5.9042 | 6.2419 | 6.5989 | 6.9764 | 7.3755 | 7.7973 | 8.2433 | 8.7149 | 9.2133 | 9.7403 | 10.2975 | 10.8865 | 11.5092 | 12.1675 | 12.8635 | 13.5993 | 14.3772 | 15.1996
| Land Lease | Rs Lakhs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| INSURANCE | Rs Lakhs | 1.225 | 1.1569 | 1.0853 | 1.0136 | 0.94201 | 0.87039 | 0.79877 | 0.72715 | 0.65553 | 0.58391 | 0.51228 | 0.44066 | 0.36904 | 0.29742 | 0.28287 | 0.26832 | 0.25378 | 0.23923 | 0.22468 | 0.21013 | 0.19559 | 0.18104 | 0.16649 | 0.15194 | 0.1374
| Total Expenditure | Rs Lakhs | 5.225 | 5.3857 | 5.5559 | 5.74 | 5.9388 | 6.153 | 6.3835 | 6.6313 | 6.8974 | 7.1828 | 7.4887 | 7.8161 | 8.1664 | 8.5408 | 8.9977 | 9.4817 | 9.9941 | 10.5367 | 11.1112 | 11.7194 | 12.3631 | 13.0446 | 13.7658 | 14.5292 | 15.337
EBITDA | EBITDA= REVENUE-EXPENDITURE |  | 46.9418 | 46.416 | 45.8831 | 45.519 | 45.0515 | 44.5253 | 43.9626 | 43.3736 | 42.7631 | 42.1328 | 41.4832 | 40.8137 | 40.1233 | 39.4111 | 38.6186 | 37.8013 | 36.9579 | 36.0867 | 35.1859 | 34.2536 | 33.288 | 32.287 | 31.2485 | 30.17 | 29.0493
|  |  | 42.0747 | 41.5829 | 41.0839 | 40.7365 | 40.2941 | 39.7971 | 39.2653 | 38.7081 | 38.1298 | 37.5317 | 36.9141 | 36.2765 | 35.6179 | 34.9372 | 34.176 | 33.3899 | 32.5773 | 31.7367 | 30.8664 | 29.9644 | 29.0288 | 28.0576 | 27.0487 | 25.9996 | 24.9081
|  |  | 78.2666 | 77.5214 | 76.7708 | 76.2986 | 75.6697 | 74.9562 | 74.1939 | 73.4001 | 72.5828 | 71.7455 | 70.8894 | 70.0145 | 69.12 | 68.2049 | 67.2108 | 66.1935 | 65.1513 | 64.0827 | 62.9859 | 61.8591 | 60.7003 | 59.5074 | 58.2783 | 57.0106 | 55.702
| DEPRECIATION (BOOK ) SLM |  | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 18.5328 | 0.8424 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EBIT | EBIT=EBITDA-DEPRECIATION |  | 28.409 | 27.8832 | 27.3503 | 26.9862 | 26.5187 | 25.9925 | 25.4298 | 24.8408 | 24.2303 | 23.6 | 22.9504 | 22.2809 | 21.5905 | 20.8783 | 20.0858 | 19.2685 | 18.4251 | 35.2443 | 35.1859 | 34.2536 | 33.288 | 32.287 | 31.2485 | 30.17 | 29.0493
|  |  | 23.5419 | 23.0501 | 22.5511 | 22.2037 | 21.7613 | 21.2643 | 20.7325 | 20.1753 | 19.597 | 18.9989 | 18.3813 | 17.7437 | 17.0851 | 16.4044 | 15.6432 | 14.8571 | 14.0445 | 30.8943 | 30.8664 | 29.9644 | 29.0288 | 28.0576 | 27.0487 | 25.9996 | 24.9081
|  |  | 59.7338 | 58.9886 | 58.238 | 57.7658 | 57.1369 | 56.4234 | 55.6611 | 54.8673 | 54.05 | 53.2127 | 52.3566 | 51.4817 | 50.5872 | 49.6721 | 48.678 | 47.6607 | 46.6185 | 63.2403 | 62.9859 | 61.8591 | 60.7003 | 59.5074 | 58.2783 | 57.0106 | 55.702
| INTEREST ON LOAN |  | 25.65 | 23.598 | 21.546 | 19.494 | 17.442 | 15.39 | 13.338 | 11.286 | 9.234 | 7.182 | 5.13 | 3.078 | 1.026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| INTEREST ON WC |  | 1.4235 | 1.3865 | 1.3497 | 1.3135 | 1.2779 | 1.243 | 1.2089 | 1.1755 | 1.143 | 1.1113 | 1.1461 | 1.1163 | 1.0875 | 0.77441 | 0.79365 | 0.81409 | 0.83581 | 0.85888 | 0.88338 | 0.90939 | 0.93699 | 0.96629 | 0.99736 | 1.0303 | 1.0653
PBT | PBT=EBIT-INTEREST ON LOAN & WC |  | 1.3355 | 2.8987 | 4.4546 | 6.1787 | 7.7988 | 9.3595 | 10.8829 | 12.3792 | 13.8533 | 15.3067 | 16.6743 | 18.0866 | 19.4771 | 20.1039 | 19.2921 | 18.4545 | 17.5893 | 34.3854 | 34.3025 | 33.3442 | 32.351 | 31.3207 | 30.2511 | 29.1397 | 27.984
|  |  | -3.5316 | -1.9344 | -0.3446 | 1.3963 | 3.0414 | 4.6313 | 6.1856 | 7.7138 | 9.22 | 10.7056 | 12.1053 | 13.5495 | 14.9717 | 15.63 | 14.8495 | 14.043 | 13.2087 | 30.0355 | 29.983 | 29.055 | 28.0918 | 27.0913 | 26.0513 | 24.9693 | 23.8428
|  |  | 32.6603 | 34.0041 | 35.3423 | 36.9583 | 38.417 | 39.7904 | 41.1143 | 42.4058 | 43.673 | 44.9194 | 46.0805 | 47.2874 | 48.4737 | 48.8976 | 47.8844 | 46.8466 | 45.7827 | 62.3814 | 62.1025 | 60.9497 | 59.7633 | 58.5411 | 57.2809 | 55.9803 | 54.6367
TAX | Tax
| Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Years for Tax Holiday
| Depreciation (IT-Written Down Value) |  | 52.65 | 44.7525 | 38.0396 | 32.3337 | 27.4836 | 23.3611 | 19.8569 | 16.8784 | 14.3466 | 12.1946 | 10.3654 | 8.8106 | 7.489 | 6.3657 | 5.4108 | 4.5992 | 3.9093 | 3.3229 | 2.8245 | 2.4008 | 2.0407 | 1.7346 | 1.4744 | 1.2532 | 1.0653
CERC Tariff
| PBT | Rs Lakhs | 1.3355 | 2.8987 | 4.4546 | 6.1787 | 7.7988 | 9.3595 | 10.8829 | 12.3792 | 13.8533 | 15.3067 | 16.6743 | 18.0866 | 19.4771 | 20.1039 | 19.2921 | 18.4545 | 17.5893 | 34.3854 | 34.3025 | 33.3442 | 32.351 | 31.3207 | 30.2511 | 29.1397 | 27.984
| Gross Income (i.e PBT+Book Depr.) | Rs Lakhs | 19.8683 | 21.4315 | 22.9874 | 24.7115 | 26.3316 | 27.8923 | 29.4157 | 30.912 | 32.3861 | 33.8395 | 35.2071 | 36.6194 | 38.0099 | 38.6367 | 37.8249 | 36.9873 | 36.1221 | 35.2278 | 34.3025 | 33.3442 | 32.351 | 31.3207 | 30.2511 | 29.1397 | 27.984
| Taxable Income after loss carried over | Rs Lakhs | -32.7817 | -23.321 | -15.0522 | -7.6222 | -1.1521 | 4.5312 | 9.5588 | 14.0337 | 18.0395 | 21.6449 | 24.8417 | 27.8088 | 30.5208 | 32.271 | 32.4141 | 32.3881 | 32.2128 | 31.9049 | 31.478 | 30.9434 | 30.3103 | 29.5862 | 28.7767 | 27.8865 | 26.9188
| Income Tax (Taxable Income*Corp tax ) | Rs Lakhs | 0 | 0 | 0 | 0 | 0 | 1.5683 | 3.3083 | 4.8571 | 6.2435 | 7.4913 | 8.5977 | 9.6246 | 10.5633 | 11.169 | 11.2185 | 11.2095 | 11.1489 | 11.0423 | 10.8945 | 10.7095 | 10.4904 | 10.2398 | 9.9596 | 9.6515 | 9.3166
| MAT (PBT *MAT RATE) | Rs Lakhs | 0.28781 | 0.62466 | 0.95997 | 1.3315 | 1.6806 | 2.017 | 2.3453 | 2.6677 | 2.9854 | 3.2986 | 3.5933 | 3.8977 | 4.1973 | 4.3324 | 4.1575 | 3.9769 | 3.7905 | 7.4101 | 7.3922 | 7.1857 | 6.9716 | 6.7496 | 6.5191 | 6.2796 | 6.0306
| Set off under MAT | Rs Lakhs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2326 | 7.3584 | 3.6322 | 3.5023 | 3.5238 | 0 | 0 | 0 | 0 | 0
| MAT set off remaining at the end of each year | Rs Lakhs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.4921 | 26.2595 | 18.9011 | 15.2689 | 11.7666 | 8.2427 | 0 | 0 | 0 | 0 | 0
| TAX Paid (MAT or IT) (MAX(IT-SetoffMAT,MAT)) | Rs Lakhs | 0.28781 | 0.62466 | 0.95997 | 1.3315 | 1.6806 | 2.017 | 3.3083 | 4.8571 | 6.2435 | 7.4913 | 8.5977 | 9.6246 | 10.5633 | 11.169 | 11.2185 | 3.9769 | 3.7905 | 7.4101 | 7.3922 | 7.1857 | 10.4904 | 10.2398 | 9.9596 | 9.6515 | 9.3166
| PAT (PBT-TAX PAID) | Rs Lakhs | 1.0477 | 2.274 | 3.4947 | 4.8472 | 6.1181 | 7.3425 | 7.5746 | 7.5222 | 7.6098 | 7.8154 | 8.0766 | 8.462 | 8.9138 | 8.9349 | 8.0736 | 14.4775 | 13.7988 | 26.9753 | 26.9103 | 26.1585 | 21.8606 | 21.081 | 20.2915 | 19.4882 | 18.6674
| Post-Tax ROE (PAT/ROE) | % | 1.492% | 3.239% | 4.978% | 6.905% | 8.715% | 10.46% | 10.79% | 10.72% | 10.84% | 11.13% | 11.51% | 12.05% | 12.7% | 12.73% | 11.5% | 20.62% | 19.66% | 38.43% | 38.33% | 37.26% | 31.14% | 30.03% | 28.91% | 27.76% | 26.59%
| MARGINAL TAX RATE (TAX PAID/PAT) |  | 0.2747 | 0.2747 | 0.2747 | 0.2747 | 0.2747 | 0.2747 | 0.43676 | 0.6457 | 0.82045 | 0.95853 | 1.0645 | 1.1374 | 1.185 | 1.25 | 1.3895 | 0.2747 | 0.2747 | 0.2747 | 0.2747 | 0.2747 | 0.47988 | 0.48574 | 0.49083 | 0.49525 | 0.49908
CERC Tariff with AD
| Accelerated Depreciation | Rs Lakhs | 210.6 | 70.2 | 28.08 | 16.848 | 10.1088 | 6.0653 | 3.6392 | 2.1835 | 1.3101 | 0.78606 | 0.47164 | 0.28298 | 0.16979 | 0.10187 | 0.061124 | 0.036674 | 0.022005 | 0.013203 | 0.0079217 | 0.004753 | 0.0028518 | 0.0017111 | 0.0010266 | 0.00061599 | 0.00036959
| PBT | Rs Lakhs | -3.5316 | -1.9344 | -0.3446 | 1.3963 | 3.0414 | 4.6313 | 6.1856 | 7.7138 | 9.22 | 10.7056 | 12.1053 | 13.5495 | 14.9717 | 15.63 | 14.8495 | 14.043 | 13.2087 | 30.0355 | 29.983 | 29.055 | 28.0918 | 27.0913 | 26.0513 | 24.9693 | 23.8428
| Gross Income (i.e PBT+Book Depr.) | Rs Lakhs | 15.0012 | 16.5984 | 18.1882 | 19.9291 | 21.5742 | 23.1641 | 24.7184 | 26.2466 | 27.7528 | 29.2384 | 30.6381 | 32.0823 | 33.5045 | 34.1628 | 33.3823 | 32.5758 | 31.7415 | 30.8779 | 29.983 | 29.055 | 28.0918 | 27.0913 | 26.0513 | 24.9693 | 23.8428
| Taxable Income after loss carried over | Rs Lakhs | -195.5988 | -249.2004 | -259.0922 | -256.0111 | -244.5457 | -227.4469 | -206.3677 | -182.3046 | -155.8619 | -127.4095 | -97.2431 | -65.4438 | -32.1091 | 1.9518 | 33.3212 | 32.5391 | 31.7195 | 30.8647 | 29.9751 | 29.0502 | 28.089 | 27.0896 | 26.0503 | 24.9687 | 23.8424
| Income Tax (Taxable Income*Corp tax ) | Rs Lakhs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.67553 | 11.5325 | 11.2618 | 10.9781 | 10.6823 | 10.3744 | 10.0543 | 9.7216 | 9.3757 | 9.016 | 8.6417 | 8.2519
| MAT (PBT *MAT RATE) | Rs Lakhs | 0 | 0 | 0 | 0.3009 | 0.65542 | 0.99804 | 1.333 | 1.6623 | 1.9869 | 2.3071 | 2.6087 | 2.9199 | 3.2264 | 3.3683 | 3.2001 | 3.0263 | 2.8465 | 6.4726 | 6.4613 | 6.2613 | 6.0538 | 5.8382 | 5.6141 | 5.3809 | 5.1381
| Set off under MAT | Rs Lakhs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.2355 | 8.1316 | 4.2096 | 3.913 | 3.7929 | 0 | 0 | 0 | 0 | 0
| MAT set off remaining at the end of each year | Rs Lakhs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.6107 | 15.3751 | 7.2435 | 3.0339 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TAX Paid (MAT or IT) (MAX(IT-SetoffMAT,MAT)) | Rs Lakhs | 0 | 0 | 0 | 0.3009 | 0.65542 | 0.99804 | 1.333 | 1.6623 | 1.9869 | 2.3071 | 2.6087 | 2.9199 | 3.2264 | 3.3683 | 11.5325 | 3.0263 | 2.8465 | 6.4726 | 6.4613 | 6.2613 | 9.7216 | 9.3757 | 9.016 | 8.6417 | 8.2519
| PAT (PBT-TAX PAID) | Rs Lakhs | -3.5316 | -1.9344 | -0.3446 | 1.0954 | 2.386 | 3.6332 | 4.8526 | 6.0515 | 7.2331 | 8.3986 | 9.4966 | 10.6296 | 11.7453 | 12.2617 | 3.3171 | 11.0167 | 10.3622 | 23.5628 | 23.5217 | 22.7936 | 18.3702 | 17.7156 | 17.0353 | 16.3276 | 15.5909
| Post-Tax ROE (PAT/ROE) | % | 0% | 0% | 0% | 1.56% | 3.399% | 5.176% | 6.913% | 8.62% | 10.3% | 11.96% | 13.53% | 15.14% | 16.73% | 17.47% | 4.725% | 15.69% | 14.76% | 33.57% | 33.51% | 32.47% | 26.17% | 25.24% | 24.27% | 23.26% | 22.21%
User Provided FIT
| PBT | Rs Lakhs | 32.6603 | 34.0041 | 35.3423 | 36.9583 | 38.417 | 39.7904 | 41.1143 | 42.4058 | 43.673 | 44.9194 | 46.0805 | 47.2874 | 48.4737 | 48.8976 | 47.8844 | 46.8466 | 45.7827 | 62.3814 | 62.1025 | 60.9497 | 59.7633 | 58.5411 | 57.2809 | 55.9803 | 54.6367
| Gross Income (i.e PBT+Book Depr.) | Rs Lakhs | 51.1931 | 52.5369 | 53.8751 | 55.4911 | 56.9498 | 58.3232 | 59.6471 | 60.9386 | 62.2058 | 63.4522 | 64.6133 | 65.8202 | 67.0065 | 67.4304 | 66.4172 | 65.3794 | 64.3155 | 63.2238 | 62.1025 | 60.9497 | 59.7633 | 58.5411 | 57.2809 | 55.9803 | 54.6367
| Taxable Income after loss carried over | Rs Lakhs | -1.4569 | 7.7844 | 15.8355 | 23.1574 | 29.4661 | 34.9621 | 39.7901 | 44.0602 | 47.8592 | 51.2576 | 54.2479 | 57.0096 | 59.5174 | 61.0648 | 61.0063 | 60.7802 | 60.4062 | 59.9009 | 59.2781 | 58.5489 | 57.7226 | 56.8065 | 55.8065 | 54.7271 | 53.5715
| Income Tax (Taxable Income*Corp tax ) | Rs Lakhs | 0 | 2.6942 | 5.4807 | 8.0148 | 10.1982 | 12.1004 | 13.7714 | 15.2492 | 16.5641 | 17.7403 | 18.7752 | 19.731 | 20.599 | 21.1345 | 21.1143 | 21.036 | 20.9066 | 20.7317 | 20.5161 | 20.2638 | 19.9778 | 19.6607 | 19.3146 | 18.941 | 18.5411
| MAT (PBT *MAT RATE) | Rs Lakhs | 7.0383 | 7.3279 | 7.6163 | 7.9645 | 8.2789 | 8.5748 | 8.8601 | 9.1384 | 9.4115 | 9.6801 | 9.9304 | 10.1904 | 10.4461 | 10.5374 | 10.3191 | 10.0954 | 9.8662 | 13.4432 | 13.3831 | 13.1347 | 12.879 | 12.6156 | 12.344 | 12.0638 | 11.7742
| Set off under MAT | Rs Lakhs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.9406 | 11.0404 | 7.2885 | 7.133 | 7.1291 | 0 | 0 | 0 | 0 | 0
| MAT set off remaining at the end of each year | Rs Lakhs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 97.0885 | 86.1479 | 75.1075 | 67.819 | 60.6859 | 53.5568 | 0 | 0 | 0 | 0 | 0
| TAX Paid (MAT or IT) (MAX(IT-SetoffMAT,MAT)) | Rs Lakhs | 7.0383 | 7.3279 | 7.6163 | 8.0148 | 10.1982 | 12.1004 | 13.7714 | 15.2492 | 16.5641 | 17.7403 | 18.7752 | 19.731 | 20.599 | 21.1345 | 21.1143 | 10.0954 | 9.8662 | 13.4432 | 13.3831 | 13.1347 | 19.9778 | 19.6607 | 19.3146 | 18.941 | 18.5411
| PAT (PBT-TAX PAID) | Rs Lakhs | 25.622 | 26.6762 | 27.7261 | 28.9435 | 28.2187 | 27.69 | 27.3429 | 27.1565 | 27.1089 | 27.1792 | 27.3053 | 27.5564 | 27.8747 | 27.7631 | 26.7701 | 36.7511 | 35.9165 | 48.9382 | 48.7194 | 47.815 | 39.7855 | 38.8804 | 37.9663 | 37.0393 | 36.0956
| Post-Tax ROE (PAT/ROE) | % | 36.5% | 38% | 39.5% | 41.23% | 40.2% | 39.44% | 38.95% | 38.68% | 38.62% | 38.72% | 38.9% | 39.25% | 39.71% | 39.55% | 38.13% | 52.35% | 51.16% | 69.71% | 69.4% | 68.11% | 56.67% | 55.39% | 54.08% | 52.76% | 51.42%
Note on B69: Author: Gross Income- Depreciation (IT-WDV)
Note on B72: Author: Mat setoff tab krte hai jab se start year hota hai(yha 16th year hai) Isme (Incometax-Mat) hi allowed hota adjust krna
Note on B73: Author: Balance hi carry forward hoga…allowed adjustment ko subtract kr dete hai total mat jitna laga ah tab tak usme'
Note on B85: Author: Author: Gross Income- Depreciation (IT-WDV
Note on B88: Author: MAT setoff jab se allow hota hai(here its
Note on B99: Author: Author: Gross Income- Depreciation (IT-WDV

## Payback&IRR
Discount Rate | 8.16%
Total Outflow-Capex | 351
Project IRR- Post Tax | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
CERC Tariff
Profit After Tax (PAT) |  | 1.0477 | 2.274 | 3.4947 | 4.8472 | 6.1181 | 7.3425 | 7.5746 | 7.5222 | 7.6098 | 7.8154 | 8.0766 | 8.462 | 8.9138 | 8.9349 | 8.0736 | 14.4775 | 13.7988 | 26.9753 | 26.9103 | 26.1585 | 21.8606 | 21.081 | 20.2915 | 19.4882 | 18.6674
PAT+ Book Depreciation |  | 19.5805 | 20.8068 | 22.0275 | 23.38 | 24.6509 | 25.8753 | 26.1074 | 26.055 | 26.1426 | 26.3482 | 26.6094 | 26.9948 | 27.4466 | 27.4677 | 26.6064 | 33.0103 | 32.3316 | 27.8177 | 26.9103 | 26.1585 | 21.8606 | 21.081 | 20.2915 | 19.4882 | 18.6674
CF from operations-post tax + Interest payment(loan) |  | 45.2305 | 44.4048 | 43.5735 | 42.874 | 42.0929 | 41.2653 | 39.4454 | 37.341 | 35.3766 | 33.5302 | 31.7394 | 30.0728 | 28.4726 | 27.4677 | 26.6064 | 33.0103 | 32.3316 | 27.8177 | 26.9103 | 26.1585 | 21.8606 | 21.081 | 20.2915 | 19.4882 | 18.6674
Net Flow (Post Tax) | -351 | 45.2305 | 44.4048 | 43.5735 | 42.874 | 42.0929 | 41.2653 | 39.4454 | 37.341 | 35.3766 | 33.5302 | 31.7394 | 30.0728 | 28.4726 | 27.4677 | 26.6064 | 33.0103 | 32.3316 | 27.8177 | 26.9103 | 26.1585 | 21.8606 | 21.081 | 20.2915 | 19.4882 | 18.6674
Cummulative Net Cash Flow | -351 | -305.7695 | -261.3647 | -217.7912 | -174.9172 | -132.8243 | -91.559 | -52.1136 | -14.7726 | 20.6041 | 54.1343 | 85.8737 | 115.9465 | 144.4191 | 171.8868 | 198.4932 | 231.5035 | 263.8351 | 291.6529 | 318.5632 | 344.7217 | 366.5823 | 387.6633 | 407.9548 | 427.443 | 446.1104
8
Project IRR- Post Tax | 9.337%
NPV of Net Flow without Tax Shelter | 30.1072 |  | Accept The Project
Payback Period | 8 | Years | 4.1758 | Months
CERF Tariff with AD
Profit After Tax (PAT) |  | -3.5316 | -1.9344 | -0.3446 | 1.0954 | 2.386 | 3.6332 | 4.8526 | 6.0515 | 7.2331 | 8.3986 | 9.4966 | 10.6296 | 11.7453 | 12.2617 | 3.3171 | 11.0167 | 10.3622 | 23.5628 | 23.5217 | 22.7936 | 18.3702 | 17.7156 | 17.0353 | 16.3276 | 15.5909
Cashflow from operations-Post tax (avlbl for repayment) |  | 15.0012 | 16.5984 | 18.1882 | 19.6282 | 20.9188 | 22.166 | 23.3854 | 24.5843 | 25.7659 | 26.9314 | 28.0294 | 29.1624 | 30.2781 | 30.7945 | 21.8499 | 29.5495 | 28.895 | 24.4052 | 23.5217 | 22.7936 | 18.3702 | 17.7156 | 17.0353 | 16.3276 | 15.5909
Total Inflow: Cashflow before debt service |  | 40.6512 | 40.1964 | 39.7342 | 39.1222 | 38.3608 | 37.556 | 36.7234 | 35.8703 | 34.9999 | 34.1134 | 33.1594 | 32.2404 | 31.3041 | 30.7945 | 21.8499 | 29.5495 | 28.895 | 24.4052 | 23.5217 | 22.7936 | 18.3702 | 17.7156 | 17.0353 | 16.3276 | 15.5909
Net Flow (Post Tax) | -351 | 40.6512 | 40.1964 | 39.7342 | 39.1222 | 38.3608 | 37.556 | 36.7234 | 35.8703 | 34.9999 | 34.1134 | 33.1594 | 32.2404 | 31.3041 | 30.7945 | 21.8499 | 29.5495 | 28.895 | 24.4052 | 23.5217 | 22.7936 | 18.3702 | 17.7156 | 17.0353 | 16.3276 | 15.5909
Tax Shelter (Accelerated Depreciation) |  | 54.6665 | 8.8074 | -3.447 | -5.3596 | -6.0134 | -5.9861 | -5.613 | -5.0859 | -4.5119 | -3.9485 | -3.4242 | -2.9514 | -2.5332 | -2.1679 | -1.8515 | -1.5791 | -1.3454 | -1.1455 | -0.97481 | -0.82928 | -0.7053 | -0.59975 | -0.50993 | -0.43353 | -0.36856
Net Flows adjusted for tax savings | -351 | 95.3177 | 49.0038 | 36.2872 | 33.7626 | 32.3474 | 31.5699 | 31.1105 | 30.7844 | 30.4879 | 30.1649 | 29.7351 | 29.2889 | 28.7709 | 28.6266 | 19.9983 | 27.9704 | 27.5496 | 23.2597 | 22.5468 | 21.9644 | 17.6649 | 17.1159 | 16.5254 | 15.8941 | 15.2224
Cummulative Net Cash Flow | -351 | -255.6823 | -206.6785 | -170.3914 | -136.6288 | -104.2814 | -72.7115 | -41.601 | -10.8166 | 19.6713 | 49.8362 | 79.5713 | 108.8603 | 137.6311 | 166.2578 | 186.2561 | 214.2266 | 241.7762 | 265.0359 | 287.5828 | 309.5471 | 327.2121 | 344.3279 | 360.8533 | 376.7474 | 391.9698
8
Project IRR- Post Tax | 9.583%
NPV of Net Flow without Tax Shelter | 31.5034 |  | Accept The Project
Payback Period | 8 | Years | 3.5478 | Months
User Provided FIT
Profit After Tax (PAT) |  | 25.622 | 26.6762 | 27.7261 | 28.9435 | 28.2187 | 27.69 | 27.3429 | 27.1565 | 27.1089 | 27.1792 | 27.3053 | 27.5564 | 27.8747 | 27.7631 | 26.7701 | 36.7511 | 35.9165 | 48.9382 | 48.7194 | 47.815 | 39.7855 | 38.8804 | 37.9663 | 37.0393 | 36.0956
Cashflow from operations-Post tax (avlbl for repayment) |  | 44.1548 | 45.209 | 46.2589 | 47.4763 | 46.7515 | 46.2228 | 45.8757 | 45.6893 | 45.6417 | 45.712 | 45.8381 | 46.0892 | 46.4075 | 46.2959 | 45.3029 | 55.2839 | 54.4493 | 49.7806 | 48.7194 | 47.815 | 39.7855 | 38.8804 | 37.9663 | 37.0393 | 36.0956
Total Inflow: Cashflow before debt service |  | 69.8048 | 68.807 | 67.8049 | 66.9703 | 64.1935 | 61.6128 | 59.2137 | 56.9753 | 54.8757 | 52.894 | 50.9681 | 49.1672 | 47.4335 | 46.2959 | 45.3029 | 55.2839 | 54.4493 | 49.7806 | 48.7194 | 47.815 | 39.7855 | 38.8804 | 37.9663 | 37.0393 | 36.0956
Net Flow (Post Tax) | -351 | 69.8048 | 68.807 | 67.8049 | 66.9703 | 64.1935 | 61.6128 | 59.2137 | 56.9753 | 54.8757 | 52.894 | 50.9681 | 49.1672 | 47.4335 | 46.2959 | 45.3029 | 55.2839 | 54.4493 | 49.7806 | 48.7194 | 47.815 | 39.7855 | 38.8804 | 37.9663 | 37.0393 | 36.0956
Cummulative Net Cash Flow | -351 | -281.1952 | -212.3882 | -144.5833 | -77.613 | -13.4195 | 48.1933 | 107.407 | 164.3824 | 219.2581 | 272.1521 | 323.1202 | 372.2874 | 419.7209 | 466.0168 | 511.3197 | 566.6036 | 621.053 | 670.8336 | 719.5531 | 767.3681 | 807.1536 | 846.0339 | 884.0002 | 921.0395 | 957.1351
5
Project IRR- Post Tax | 17.22%
NPV of Net Flow without Tax Shelter | 254.4989 |  | Accept The Project
Payback Period | 5 | Years | 2.178 | Months
Equity IRR | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Equity Outflow | -70.2
Capital repayments (Loan Principal Amount Repayment) |  | 21.6 | 21.6 | 21.6 | 21.6 | 21.6 | 21.6 | 21.6 | 21.6 | 21.6 | 21.6 | 21.6 | 21.6 | 21.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CERC Tariff
Cashflow available for repayment (PAT+Book dep.) | 0 | 19.5805 | 20.8068 | 22.0275 | 23.38 | 24.6509 | 25.8753 | 26.1074 | 26.055 | 26.1426 | 26.3482 | 26.6094 | 26.9948 | 27.4466 | 27.4677 | 26.6064 | 33.0103 | 32.3316 | 27.8177 | 26.9103 | 26.1585 | 21.8606 | 21.081 | 20.2915 | 19.4882 | 18.6674
Inflow | 0 | -2.0195 | -0.7932 | 0.42746 | 1.78 | 3.0509 | 4.2753 | 4.5074 | 4.455 | 4.5426 | 4.7482 | 5.0094 | 5.3948 | 5.8466 | 27.4677 | 26.6064 | 33.0103 | 32.3316 | 27.8177 | 26.9103 | 26.1585 | 21.8606 | 21.081 | 20.2915 | 19.4882 | 18.6674
Net Flow | -70.2 | -2.0195 | -0.7932 | 0.42746 | 1.78 | 3.0509 | 4.2753 | 4.5074 | 4.455 | 4.5426 | 4.7482 | 5.0094 | 5.3948 | 5.8466 | 27.4677 | 26.6064 | 33.0103 | 32.3316 | 27.8177 | 26.9103 | 26.1585 | 21.8606 | 21.081 | 20.2915 | 19.4882 | 18.6674
Cummulative Net Cash Flow | -70.2 | -72.2195 | -73.0127 | -72.5852 | -70.8052 | -67.7543 | -63.479 | -58.9716 | -54.5166 | -49.9739 | -45.2257 | -40.2163 | -34.8215 | -28.9749 | -1.5072 | 25.0992 | 58.1095 | 90.4411 | 118.2589 | 145.1692 | 171.3277 | 193.1883 | 214.2693 | 234.5608 | 254.049 | 272.7164
14
Equity IRR (Post Tax) | 9.846%
NPV @ Interest Rate | 19.8231
Payback Period | 14 | Years | 0.56649 | Months
CERC Tariff with AD
Cashflow available for repayment |  | 15.0012 | 16.5984 | 18.1882 | 19.6282 | 20.9188 | 22.166 | 23.3854 | 24.5843 | 25.7659 | 26.9314 | 28.0294 | 29.1624 | 30.2781 | 30.7945 | 21.8499 | 29.5495 | 28.895 | 24.4052 | 23.5217 | 22.7936 | 18.3702 | 17.7156 | 17.0353 | 16.3276 | 15.5909
Inflow | 0 | -6.5988 | -5.0016 | -3.4118 | -1.9718 | -0.68122 | 0.56603 | 1.7854 | 2.9843 | 4.1659 | 5.3314 | 6.4294 | 7.5624 | 8.6781 | 30.7945 | 21.8499 | 29.5495 | 28.895 | 24.4052 | 23.5217 | 22.7936 | 18.3702 | 17.7156 | 17.0353 | 16.3276 | 15.5909
Net Flow | -70.2 | -6.5988 | -5.0016 | -3.4118 | -1.9718 | -0.68122 | 0.56603 | 1.7854 | 2.9843 | 4.1659 | 5.3314 | 6.4294 | 7.5624 | 8.6781 | 30.7945 | 21.8499 | 29.5495 | 28.895 | 24.4052 | 23.5217 | 22.7936 | 18.3702 | 17.7156 | 17.0353 | 16.3276 | 15.5909
Net Flow adjusted for tax savings | -70.2 | 48.0677 | 3.8058 | -6.8588 | -7.3314 | -6.6946 | -5.4201 | -3.8275 | -2.1016 | -0.34605 | 1.3829 | 3.0051 | 4.6109 | 6.1449 | 28.6266 | 19.9983 | 27.9704 | 27.5496 | 23.2597 | 22.5468 | 21.9644 | 17.6649 | 17.1159 | 16.5254 | 15.8941 | 15.2224
Cummulative Net Cash Flow | -70.2 | -22.1323 | -18.3265 | -25.1854 | -32.5168 | -39.2114 | -44.6315 | -48.459 | -50.5606 | -50.9067 | -49.5238 | -46.5187 | -41.9077 | -35.7629 | -7.1362 | 12.8621 | 40.8326 | 68.3822 | 91.6419 | 114.1888 | 136.1531 | 153.8181 | 170.9339 | 187.4593 | 203.3534 | 218.5758
14
Equity IRR (Post Tax) | 10.79%
NPV @ Interest Rate | 21.2194
Payback Period | 14 | Years | 3.5684 | Months
User Provided FIT
Cashflow available for repayment | 0 | 44.1548 | 45.209 | 46.2589 | 47.4763 | 46.7515 | 46.2228 | 45.8757 | 45.6893 | 45.6417 | 45.712 | 45.8381 | 46.0892 | 46.4075 | 46.2959 | 45.3029 | 55.2839 | 54.4493 | 49.7806 | 48.7194 | 47.815 | 39.7855 | 38.8804 | 37.9663 | 37.0393 | 36.0956
Inflow | 0 | 22.5548 | 23.609 | 24.6589 | 25.8763 | 25.1515 | 24.6228 | 24.2757 | 24.0893 | 24.0417 | 24.112 | 24.2381 | 24.4892 | 24.8075 | 46.2959 | 45.3029 | 55.2839 | 54.4493 | 49.7806 | 48.7194 | 47.815 | 39.7855 | 38.8804 | 37.9663 | 37.0393 | 36.0956
Net Flow | -70.2 | 22.5548 | 23.609 | 24.6589 | 25.8763 | 25.1515 | 24.6228 | 24.2757 | 24.0893 | 24.0417 | 24.112 | 24.2381 | 24.4892 | 24.8075 | 46.2959 | 45.3029 | 55.2839 | 54.4493 | 49.7806 | 48.7194 | 47.815 | 39.7855 | 38.8804 | 37.9663 | 37.0393 | 36.0956
Cummulative Net Cash Flow | -70.2 | -47.6452 | -24.0362 | 0.62265 | 26.499 | 51.6505 | 76.2733 | 100.549 | 124.6384 | 148.6801 | 172.7921 | 197.0302 | 221.5194 | 246.3269 | 292.6228 | 337.9257 | 393.2096 | 447.659 | 497.4396 | 546.1591 | 593.9741 | 633.7596 | 672.6399 | 710.6062 | 747.6455 | 783.7411
2
Equity IRR (Post Tax) | 34.85%
NPV @ Interest Rate | 244.2149
Payback Period | 2 | Years | 9.7475 | Months
Note on B11: Author: Cashflow from operations-Post tax (avlbl for repayment)
Note on B12: Author: Total Inflow: Cashflow before debt service
Note on B25: Author: Net Flow(Post Tax)+ Tax Shelter(AD)
Note on B47: Author: PAT+BOOK DEPRECIATION